## Tabelle1
Variable | water volume | magnitude S21 measurement 1 | magnitude S21 measurement 2 | magnitude S21 measurement 3 | magnitude S21 measurement 4 | magnitude S21 measurement 5 | magnitude S21 measurement 6 | magnitude S21 measurement 7 | mean of all measurements | standard deviation
Unit | mL | dB | dB | dB | dB | dB | dB | dB | dB | dB
Comment | water volume in upper compartment | frequency = 855MHz | frequency = 855MHz | frequency = 855MHz | frequency = 855MHz | frequency = 855MHz | frequency = 855MHz | frequency = 855MHz
| 0 | -29.5206 | -29.499 | -29.5498 | -29.5508 | -29.5487 | -29.5444 | -- | -29.5355 | 0.0212
| 1 | -29.7482 | -29.7014 | -29.7426 | -29.7146 | -29.7338 | -29.7721 | -- | -29.7354 | 0.02513
| 2 | -29.8271 | -29.6813 | -29.8773 | -29.8547 | -29.7656 | -29.8213 | -29.8937 | -29.8173 | 0.07316
| 3 | -30.0653 | -30.0733 | -30.0025 | -29.9676 | -30.0097 | -30.0175 | -30.0336 | -30.0242 | 0.0368
| 4 | -30.0465 | -30.188 | -30.0952 | -30.0294 | -- | -- |  | -30.0898 | 0.07116
| 5 | -30.2856 | -30.2936 | -30.2643 | -30.3163 | -- | -- |  | -30.29 | 0.02147
| 6 | -30.5145 | -30.3639 | -30.3927 | -30.3686 | -30.314 | -- |  | -30.3908 | 0.07488
| 7 | -30.5514 | -30.5399 | -30.5279 | -30.6108 | -30.6617 | -- |  | -30.5783 | 0.05645
| 8 | -30.6205 | -30.604 | -30.7296 | -30.705 | -- | -- |  | -30.6647 | 0.06183
| 9 | -30.8429 | -31.0653 | -30.9299 | -30.9964 | -- | -- |  | -30.9586 | 0.0949
| 10 | -31.1485 | -31.1156 | -31.0859 | -31.0219 | -31.085 | -31.1175 |  | -31.0957 | 0.04317
| 11 | -31.3291 | -31.2642 | -31.313 | -31.2566 | -31.2676 | -- |  | -31.2861 | 0.03265
| 12 | -31.2565 | -31.3768 | -31.2783 | -31.4659 | -- | -- |  | -31.3444 | 0.09645
| 13 | -31.5181 | -31.5942 | -31.5087 | -31.5239 | -31.5363 | -- |  | -31.5363 | 0.03392
| 14 | -31.6259 | -31.694 | -31.658 | -31.8733 | -31.693 | -- |  | -31.7088 | 0.09615
| 15 | -31.9099 | -31.5622 | -31.8169 | -31.7369 | -31.8241 | -- |  | -31.77 | 0.13131
| 16 | -31.8833 | -32.1318 | -31.9789 | -32.0451 | -- | -- |  | -32.0098 | 0.10505
| 17 | -32.0817 | -32.0719 | -32.2044 | -32.0693 | -32.2215 | -- |  | -32.1298 | 0.07633
| 18 | -32.3257 | -32.2095 | -32.2214 | -32.3436 | -32.2717 | -32.2973 |  | -32.2782 | 0.05455
| 19 | -32.4053 | -32.4989 | -32.5085 | -32.3655 | -32.4258 |  |  | -32.4408 | 0.06146
| 20 | -32.4528 | -32.4593 | -32.4178 | -32.461 | -32.4664 |  |  | -32.4514 | 0.01944